CONDITIONS OF APPROVAL

Site Plan Review (SPR17-060)

6141 – 6191 Atlantic Avenue

Application No. 1706-11

October 4, 2018

- Project approvals consist of Site Plan Review (SPR17-060) for the remodel and 16,352-square-foot expansion of an existing shopping center and adjacent vacant lot located at 6141-6191 Atlantic Avenue in the Commercial Neighborhood Automobile-Oriented District (CNA). (District 9)

- This permit and all development rights hereunder shall terminate two years from the effective date of this permit unless construction is commenced or a time extension is granted, based on a written request submitted to and approved by the Zoning Administrator prior to the expiration of the two-year period as provided in Section 21.21.406 of the Long Beach Municipal Code.

- This permit shall be invalid if the owner(s) and/or applicant(s) have failed to return written acknowledgment of their acceptance of the conditions of approval on the Conditions of Approval Acknowledgment Form supplied by the Planning Bureau.  This acknowledgment must be submitted within 30 days from the effective date of approval (final action date or, if in the appealable area of the Coastal Zone, 21 days after the local final action date).

- Special Conditions:

- All work shall be carried out in substantial conformance with the activities shown on architectural and landscape plans received by the Department of Development Services, Planning Bureau, dated September 17, 2018, including any subsequent conditions of generated from Planning Commission on October 4, 2018.

- Application of a lot merger between the two lots located at the address 6141 Atlantic (APN 7125036900) and 6151-6191 Atlantic Avenue (APN 71225036002) to be completed.  Recordation should be done as part of the sale of 6141 Atlantic Avenue by the City of Long Beach and should be recorded as part of the close of escrow.

- The applicant shall incorporate a design or landscape element to screen the utility area along the west elevation of Building E3.  This element shall be compatible with the overall architecture of the center and is subject to the review and approval of the Director of Development Services or designated staff.

- The designated loading area located adjacent to Unit B  shall be clearly marked on the surface as “Loading”.  The use of this loading area shall not impede with the queuing for Unit A2 drive-through lane.

- On-site landscaping shall be subject to LBMC Section 21.42.035 – Special Requirements for Water Efficient Landscaping.  Landscaped areas shall be planted primarily with drought tolerant plant materials and shall be provided with water-conserving, automatic irrigation systems designed to provide complete and adequate coverage to sustain and promote healthy plant life.  The irrigation system shall not cause water to spray or flow across a public sidewalk.

- All signage shall be reviewed for a separate permit/entitlement.  All signage must comply with the Long Beach Municipal Code including providing a corner cut-off for future monument/ freestanding signs.

- The number of Electric Vehicle (EV) charging stations and spaces shall meet all applicable California Green Building Standards Code Chapter 5 Section 5.106.5.3 requirements and Title 18 of the Long Beach Building Standards Code.

- A minimum of four (4) bicycle racks shall be provided for and maintained on site.

- Ground floor transformers and mechanical equipment’s shall be located outside the required yard setbacks and screened from view from the public right-of-way.

- The Department of Development Services and the Long Beach Police Department shall have the authority to review the site for security problems, and said departments shall have the power to require additional security measures including, but not limited to, security guards, fencing, and additional security lighting if problems develop at the site.

- Exterior security bars and roll-up doors applied to windows and pedestrian building entrances shall be prohibited.

- Noise levels emanating from the project’s common open space areas shall not exceed applicable noise standards specified in Long Beach Municipal Code.

- Standard Conditions:

- If, for any reason, there is a violation of any of the conditions of this permit or if the use/operation is found to be detrimental to the surrounding community, including public health, safety or general welfare, environmental quality or quality of life, such shall cause the City to initiate revocation and termination procedures of all rights granted herewith.

- In the event of transfer of ownership of the property involved in this application, the new owner shall be fully informed of the permitted use and development of said property as set forth by this permit together with all conditions that are a part thereof.  These specific requirements must be recorded with all title conveyance documents at time of closing escrow.

- This approval is required to comply with these conditions of approval as long as the use is on the subject site.  As such, the site shall allow periodic re-inspections, at the discretion of city officials, to verify compliance.  The property owner shall reimburse the City for the inspection cost as per the special building inspection specifications established by City Council (Sec. 21.25.412, 21.25.212).

- All conditions of approval must be printed verbatim on all plans submitted for plan review to the Department of Development Services.  These conditions must be printed on the site plan or a subsequent reference page.

- The plans submitted for plan review must explicitly call out and describe all materials, textures, accents, colors, window, door, planter, and paving details that were approved by the Site Plan Review Committee or the Planning Commission.  No substantial changes shall be made without prior written approval of the Site Plan Review Committee or the Planning Commission.

- The Director of Development Services is authorized to make minor modifications to the approved design plans or to any of the conditions of approval if such modifications shall not significantly change or alter the approved project.  Any major modifications shall be reviewed by the Zoning Administrator or Planning Commission, respectively.

- Any off-site improvements found to be damaged as a result of construction activities related to this project shall be replaced to the satisfaction of the Director of Public Works.

- A permit from the Department of Public Works shall be required for any work to be performed in or over the public right-of-way.

- Site development, including landscaping, shall conform to the approved plans on file with the Department of Development Services. At least one set of approved plans containing Planning, Building, Fire, and, if applicable, Redevelopment and Health Department stamps shall be maintained at the job site, at all times for reference purposes during construction and final inspection.

- The property shall be developed and maintained in a neat, quiet, and orderly condition and operated in a manner so as not to be detrimental to adjacent properties and occupants.  This shall encompass the maintenance of exterior facades of the building, designated parking areas serving the use, fences and the perimeter of the site (including all public parkways).

- Any graffiti found on site must be removed within 24 through of its appearance.

- Prior to the issuance of a building permit, the applicant must depict all utility apparatus, such as, but not limited to, backflow devices and Edison transformers, on both the site plan and the landscape plan.  These devices shall not be located in any front, side, or rear yard area that is adjacent to a public street.  Furthermore, this equipment shall be properly screened by landscaping or any other screening method approved by the Director of Development Services.

- All rooftop mechanical equipment shall be fully screened from public view. Said screening must be architecturally compatible with the building in terms of theme, materials, colors and textures. If the screening is not specifically designed into the building, a rooftop mechanical equipment plan must be submitted showing screening and must be approved by the Director of Development Services prior to the issuance of a building permit.

- Energy conserving equipment, lighting, and construction features shall be utilized in this project.

- The applicant shall file a separate plan check submittal to the Long Beach Fire Department for review and approval prior to the issuance of a building permit.

- Prior to the issuance of a building permit, the applicant shall submit architectural, landscaping and lighting drawings for the review and approval of the Police Department for their determination of compliance with Police Department security recommendations.

- All structures shall conform to the Long Beach Building Code requirements.  Notwithstanding this subject permit, all other required permits from the Building Bureau must be secured.

- Separate building permits are required for fences, retaining walls, flagpoles, and pole mounted yard lighting foundations.

- Approval of this development project is expressly conditioned upon payment (prior to building permit issuance or prior to Certificate of Occupancy, as specified in the applicable Ordinance or Resolution for the specific fee) of impact fees, connection fees and other similar fees based upon additional facilities needed to accommodate new development at established City service level standards, including, but not limited to, sewer capacity charges, Park Fees and Transportation Impact Fees.

- Demolition, site preparation, and construction activities are limited to the following (except for the pouring of concrete which may occur as needed):

  - Weekdays and federal holidays:  7:00 a.m. to 7:00 p.m.;

  - Saturday:  9:00 a.m. - 6:00 p.m.; and

  - Sundays: not allowed

- All required utility easements shall be provided to the satisfaction of the concerned department, agency, or utility company.

- As a condition of any City approval, the applicant shall defend, indemnify, and hold harmless City and its agents, officers, and employees from any claim, action, or proceeding against City or its agents, officers, and employees to attack, set aside, void, or annul the approval of City concerning the processing of the proposal/entitlement or any action relating to, or arising out of, such approval. At the discretion of the City and with the approval of the City Attorney, a deposit of funds by the applicant may be required in an amount sufficient to cover the anticipated litigation.

- The applicant shall comply with all comments from the Long Beach Police, Gas & Oil (Energy Resources), Public Works, Water and Fire Departments, and Building Bureau.

- The applicant shall provide the following to the satisfaction of the Director of Public Works:

GENERAL REQUIREMENTS

- Prior to the start of any on-site/off-site demolition or construction, the Developer shall submit a construction plan for pedestrian protection, construction area perimeter fencing with custom-printed screen(s), street lane closures, construction staging, shoring excavations and the routing of construction vehicles (excavation hauling, concrete and other deliveries, etc.).

- All door openings swinging into the public right-of-way shall be eliminated or set back to the satisfaction of the Director of Public Works. Construction plans shall be submitted to the Department of Public Works for all encroachments over the public right-of-way to be reviewed for approval as to compliance with California Building Code Chapter 32, to the satisfaction of the Director of Public Works.

- The Developer proposes a refuse and recycling receptacle location adjacent to Linden Avenue, on the north side of the property. All refuse and recycling receptacles shall be subject to the standards and requirement of Long Beach Municipal Code Chapter 8.60, including number of receptacles, receptacle specifications, and collection services.

- A City of Long Beach street improvement project along East Harding Street and Linden Avenue, from East 61st Street to Atlantic Avenue, is planned to include street improvements (roundabout implementation, sidewalk improvements, striping, etc.) adjacent to the development site. The Developer shall work with the City’s Public Works Department to coordinate private development design with the City project design plan.

- The Developer proposes to construct curb extensions within the Atlantic Avenue roadway. The Mobility Element of the City’s General Plan mandates the roadway width to be a minimum of 80 feet, for City planned Major Avenues. The Developer shall provide development plans consistent with the street design standards of the Long Beach Mobility Element to the City’s Public Works Department, for final review and approval during the plan check process, prior to issuance of a building permit.

- The Developer proposes to improve portions of Atlantic Avenue, Linden Avenue and East 61st Street, which are currently under 5-year moratoriums. Atlantic Avenue has less than 2 years remaining, while Linden Avenue and East 61st Street have less than 1 year remaining. The Developer shall provide written approval from the City to begin construction prior to the end of the existing moratoriums, in the form of a discretionary permit for excavation.

PUBLIC RIGHT-OF-WAY

- The Developer shall execute an Irrevocable Offer of Dedication in a form acceptable to the City of Long Beach Public Works Department, to dedicate 3 feet of the development site along East 61st Street for future widening purposes. The Developer shall contact the Department of Public Works, at (562) 570-6996, to request an application and initiate dedication proceedings.

- The Developer shall coordinate with the Transportation Mobility Bureau to relocate the stop sign at the northeast corner of Linden Avenue and East 61st Street, per Public Works standards. The Developer shall contact the  Transportation Mobility Bureau, at (562) 570-6331, to schedule relocation work.

- The Developer shall construct all off-site improvements needed to provide full ADA accessibility compliance within the adjacent public right-of-way, to the satisfaction of the Director of Public Works. If a dedication of additional right-of-way is necessary to satisfy ADA requirements, as determined during the plan check process, the right-of-way dedication way shall be provided.

- All proposed/future outdoor dining areas and parklets within the public rights-of-way shall be subject to the standards and requirement of Long Beach Municipal Code Chapter 14.14 and parklet standards. Separate approval from the City of Long Beach City Council is required prior to private use of the public rights-of-way. The Developer shall contact the Department of Public Works, at (562) 570-7954, to request a Public Walkways Occupancy Permit application and initiate review.

OFF-SITE IMPROVEMENTS

- The Developer shall check with the interested City department or utility agency prior to relocating or removing any public facilities, in association with improvements conditioned for this development site.

- The Developer shall reconstruct the existing driveway on East Harding Street to meet full ADA compliance, per plans reviewed and approved by Public Works. Driveway improvements shall be constructed of Portland cement concrete to the satisfaction of the Director of Public Works.

- The Developer shall remove the unused driveway along East 61st Street, or portion(s) thereof, and replace with full-height curb, curb gutter and sidewalk to the satisfaction of the Director of Public Works. Sidewalk improvements shall be constructed with Portland cement concrete.

- The Developer proposes to construct two new driveways along Linden Avenue for refuse and recycling receptacle collection, but Public Works does not support these driveways. The Developer shall remove be allowed to maintain the existing driveway and curb cut along Linden Avenue for collection purposes, if designated as an entrance only. and replace with full-height curb, curb gutter and sidewalk pavement to the satisfaction of the Director of Public Works. The Developer shall be responsible for reconstructing damaged/deteriorated sections of the existing access point, and providing for appropriate traffic signs and/or pavement markings to prohibit egress. Sidewalk improvements shall be constructed with Portland cement concrete.

- The Developer shall construct new sidewalk paving and tree wells along Linden Avenue where they do not currently exist adjacent to the project site, from East 61st Street to the existing northerly portion, providing for a 12-foot wide public sidewalk; including tree wells, a minimum 5-foot wide clear path, and proposed landscaped strip. The Developer shall reconstruct cracked, deteriorated, or uplifted sections of curb and curb gutter along this portion of Linden Avenue. Sidewalk improvements shall be constructed with Portland cement concrete to the satisfaction of the Director of Public Works.

- The Developer shall construct new sidewalk paving and tree wells along East 61st Street adjacent to the project site, providing for a 10-foot wide public sidewalk. Sidewalk improvements shall be constructed with Portland cement concrete to the satisfaction of the Director of Public Works.

- The Developer shall reconstruct cracked, deteriorated, or uplifted/depressed sections of sidewalk pavement, curb and curb gutter adjacent to the development site along Atlantic Avenue, East Harding Street, and Linden Avenue (the existing northerly portion). Sidewalk improvements shall be constructed with Portland cement concrete to the satisfaction of the Director of Public Works. All sidewalk removal limits shall consist of entire panel replacements (from joint line to joint line).

- The Developer shall replace the truncated dome mat at the existing curb ramp, located at the corner of Linden Avenue and East 61st Street adjacent to the project site, to the satisfaction of the Director of Public Works.

- The Developer shall install Custom Printed Flex Mesh screen(s) along the along the perimeter of the development site, such as FenceScreen.com Series 311, or equivalent, fence screening, and provide for the printed graphic, to the satisfaction of the Director of Public Works. The graphics shall depict positive images of the City or other artistic concepts. Prior to submitting the graphic design for printing, the Developer shall consult with the Department of Public Works to review and approve.

- The Developer shall provide for new street trees with root barriers along Atlantic Avenue, Linden Avenue, and East 61st Street, per Section 21.42.050 of the Long Beach Municipal Code. Street trees requiring removal shall be relocated or replaced to the satisfaction of the Director of Public Works. Street trees along Atlantic Avenue shall be installed or replaced with Crape Myrtle Hybrid street trees, at a 24-inch box minimum, to be consistent with the City’s Atlantic Avenue Streetscape Project between 56th Street and 59th Street. The Developer and/or successors shall water and maintain all street trees, landscaping and sprinkler systems required in connection with this project. The Developer shall contact the Street Tree Division of the Department of Public Works, at (562) 570-2770, prior to beginning the tree planting, landscaping, and any irrigation system work. The Street Tree Division will assist with the size, type and manner in which the street trees are to be installed. At a minimum, parkway trees shall provide shade coverage, after five years of growth, of 50% of the total area dedicated for public right of way.

Note: Subject to approval of the proposed curb extensions along Atlantic Avenue, the landscaping plan may need to be altered to be fully compliant with LBMC 21.42.050. For example, the locations of the inner trees adjacent to the driveway along Atlantic Avenue appear to be too close to the driveway.

- The Developer shall replace the two missing trees along Atlantic Avenue adjacent to the project site, to the satisfaction of the Director of Public Works. The Developer shall contact the Street Tree Division of the Department of Public Works, at (562) 570-2770, prior to beginning the tree planting, landscaping, and any irrigation work on Atlantic Avenue.

- The Developer shall install new Sea Side Dome Top Bollards adjacent to the project site along Atlantic Avenue with necessary lighting calculations, which shall be submitted to the Director of Public Works for review and approval prior to approval of the final map.  The Developer shall provide for bollards, light standards and feed point(s) adjacent to the proposed development, to the satisfaction of the Director of Public Works. The distance between the bollard shall not be less than 20 feet on center, as measured parallel to the curb. In addition, bollards shall be placed at a minimum of 1.75 feet from the face of the curb, as measured perpendicular to the curb and to the center of the bollard.

- The Developer’s site plan shows a landscaped strip adjacent to the block wall along Linden Avenue, from East 61st Street to East Harding Street. The Developer shall provide a minimum 5-foot wide clear path between the proposed improvement and tree wells, along the full length of Linden Avenue, to the satisfaction of the Director of Public Works. The proposed landscaped strip shall be subject to the requirement and standards of Long Beach Municipal Code Section 21.42.050.

- The Developer shall be responsible for the maintenance, repair and replacement of off-site improvements abutting the project boundary during construction of the on-site improvements, until final inspection of the on-site improvements by the City. All off-site improvements adjacent to the development site, and/or along the truck delivery route found damaged as a result of construction activities, shall be reconstructed or replaced by the Developer, to the satisfaction of the Director of Public Works.

- The Developer shall provide for the resetting to grade of existing manholes, pull boxes, meters, and other existing facilities in conjunction with the required off-site improvements, to the satisfaction of the Director of Public Works.

- Subject to the improvement limits of the proposed southeasterly driveway along East 61st Street, the Developer shall provide for the relocation of the adjacent utility pole and street light pull box, to the satisfaction of the Director of Public Works. The Developer shall contact Southern California Edison and City Light and Power to schedule the relocation work prior to submitting on-site grading plans.

- All work within the public right-of-way must be performed by a contractor holding a valid State of California Contractor’s License and City of Long Beach Business License, sufficient to qualify the contractor to do work. The Contractor shall have on file with the City Engineer a Certificate of General Liability insurance, and endorsement evidencing minimum City of Long Beach limits of required general liability insurance.

- Public improvements shall be constructed in accordance with plans reviewed and approved by Public Works. The City’s Public Works Engineering Standard Plans are available online at www.longbeach.gov/pw/resources/engineering/standard-plans. Detailed off-site improvement plans shall be prepared by a licensed Civil Engineer, stamped, signed and submitted to the Department of Public Works for final review and approval, prior to issuance of a building permit.

- All conditions of approval, including cover letter signed by the Planning Officer and Case Planner, must be printed verbatim on all plans submitted for plan review to the Department of Public Works.

- Prior to approving an engineering plan, all projects greater than 1 acre in size must demonstrate coverage under the State Construction General NPDES Permit.  To meet this requirement, the applicant must submit a copy of the letter from the State Water Resource Control Board acknowledging receipt of the Notice of Intent (NOI) and a certification from the developer or engineer that a Storm Water Pollution Prevention Plan (SWPPP) has been prepared. Should you have any questions regarding the State Construction General NPDES Permit or wish to obtain an application, please call the State Regional Board Office at (213) 576-6600 or visit their website for complete instructions at www.waterboards.ca.gov/water_issues/programs/stormwater/construction.shtml Left-click on the Construction General Permit Order 2009-0009-DWQ link.

TRAFFIC & TRANSPORTATION

- At the discretion of the City Traffic Engineer, the Developer will be responsible to provide appropriate curb markings and/or traffic signage along East 61st Street. The existing road width is substandard per City guidelines, and will require removal of off-site street parking along the north side of East 61st Street to mitigate safety concerns.

- The Developer shall be responsible to install certain traffic signal related equipment to current CA MUTCD and/or City of Long Beach Standards, at the intersection of Atlantic Avenue and East 61st Street. The Traffic Signal related equipment shall include, but may not be limited to the following:

  - 12” LED Traffic Signal Indication units

  - Vehicular detection on all approaches to the signalized intersection. This may include presence, mid or advance detection per City direction. Options will include standard Type E loops or video detection.

  - LED Countdown Modules for pedestrian indications within all pedestrian crossings.

  - Current City Standard pedestrian push buttons.

  - Emergency Vehicle Pre-Emption (EVPE) equipment. The equipment and installation must be completed per the most current City Standard.

  - Because of the fact that so many City of Long Beach traffic signals operate and share coordinated signal timing plans, the developer shall also install a GPS Module at the signalized intersection. The GPS Modules create accurate time-based communications between nearby traffic signals.

  - Traffic signal controller and cabinet based on the most current City Standard.

- New crosswalks in the vicinity of the project shall be added by the Developer at the discretion of the City Traffic Engineer. The Developer shall be responsible to install all new marked crosswalks, to the newest City standards, at the intersection of Atlantic Avenue and East 61st Street.

- At the discretion of the City Traffic Engineer, the Developer shall be responsible to implement the most recent Bicycle Master Plan and City planned off-site improvements, as part of the City street improvement project, from its frontage blocks up to the City project limits impacted by the development site.

- The Developer is responsible for providing development designs along Atlantic Avenue which comply with the requirements of Long Beach Transit and the City Traffic Engineer. Attached is a conceptual design plan approved by both entities for a project under similar design constraints. At minimum, the Developer shall provide for a 10-foot wide public sidewalk, 7-foot wide parking lane, 65-foot wide bike lane (Class II) in compliance with the City’s Bicycle Master Plan, 9-foot wide bus island spanning 80 feet (beginning a distance of 20 feet from the nearby crosswalk) with an at-grade pedestrian access, and 10-foot wide bus pad 10.5-foot wide outside vehicle travel lane, and 10-foot wide inside vehicle travel lane. Street improvements shall be made per plans reviewed and approved to the satisfaction of the City Traffic Engineer. Improvement plans shall be prepared by a registered Traffic Engineer, stamped, signed and submitted to the Department of Public Works for approval.

Note: Upon preliminary review, the proposed curb extension at the southeast corner of the project site may be acceptable if a minimum curb radius of 15 feet and low-height landscaping are provided.

- At the discretion of the City Traffic Engineer, the Developer shall be responsible for modifying the roadway in the vicinity f the existing landscaped median along Atlantic Avenue, relocating all facilities as needed to accommodate modifications. The current roadway width is insufficient to support the proposed street improvements along this segment. The Developer shall demolish and reconstruct the existing median and roadbed, west of centerline, decreasing the median width by a minimum of 3 feet.

- There is a high volume Long Beach Transit bus stop on Atlantic Avenue adjacent to the development site. The Developer shall incorporate enhancements to improve and relocate the bus stop into this project. Amenities such as a roof overhang for additional shelter and architectural seating for bus patrons should be integrated into the project; the Developer shall replace the existing shelter with a standard 3-post kaleidoscope style shelter with presidio seating per Long Beach Transit standards. The Developer shall collaborate with Long Beach Transit and the City’s Public Works Department to take advantage of this opportunity.

Note: If the Developer plans to install a custom design bus shelter, detailed plans (including bus stop dimensions, shelter design dimensions, shelter materials, bus pad dimensions, etc.) shall be submitted to Long Beach Transit and Public Works for review and approval, prior to issuance of a building permit. Attached is a copy of a sample submittal package for review of a custom bus shelter design.

- The Developer shall contact Long Beach Transit prior to the commencement of work to coordinate design and construction issues and to ensure that construction does not interfere with transit bus operations at the existing bus stop on Atlantic Avenue. Contact Shirley Hsiao, Manager of Service Development Planning, at (562) 591-8753.

- The size and configuration of all proposed driveways serving the project site shall be subject to review and approval of the City Traffic Engineer. Driveways greater than 28 feet in width require a variance; contact the Transportation Mobility Bureau at (562) 570-6331 to request additional information regarding driveway construction requirements.

- The Developer shall salvage and reinstall all traffic signs that require temporary removal to accommodate new construction within the public right-of-way. All traffic signs shall be reinstalled to the satisfaction of the City Traffic Engineer.

- The Developer shall replace all traffic signs and mounting poles damaged or misplaced as result of construction activities to the satisfaction of the City Traffic Engineer.

- The Developer shall repaint all traffic markings obliterated or defaced by construction activities to the satisfaction of the City Traffic Engineer.

- The Developer shall contact the Transportation Mobility Bureau, at (562) 570-6331, to modify any existing curb marking zones adjacent to the project site.

- The Developer shall replace the existing decorative bicycle rack on Atlantic Avenue with new bicycle racks, in front of each commercial space, to the satisfaction of the City Traffic Engineer.

- All traffic control device installations, including pavement markings within the private parking lot, shall be installed in accordance with the provisions of the Manual on Uniform Traffic Control Devices (MUTCD), 2012 or current edition (i.e. white parking stalls, stop signs, entry treatment signage, handicapped signage, etc.).