FIRE SPRINKLER RETROFIT ALTERNATIVES FOR EXISTING MULTI-FAMILY, HOTELS, MOTELS, WITH FIFTY (50) OR MORE UNITS UNDER ONE ROOF.

All existing un-sprinklered residential buildings with 50 or more units under one roof, who elect not to retrofit their buildings with a fire sprinkler system, shall comply with the following requirements.

- A letter shall be provided and updated annually from the building owner, or homeowners association indicating that they are electing to comply with the fire sprinkler retrofit alternatives, in lieu of installing a fire sprinkler system.

- Within six (6) months of submitting the letter “electing to comply”, the building owner or homeowner’s association must provide a letter, showing the plan of action and a reasonable time frame for conducting the needed items for compliance and Fire Department approval.  This letter, upon approval, will constitute a “contract” and will be used to begin the inspection process to ensure compliance. **

- A *Fire Evacuation Plan (FEP) shall be designed, and approved by the Fire Department.  This plan shall be in a professional format providing the following information:

  - Emergency egress and escape routes. (Primary and secondary)

  - Procedures for accounting for employees and occupants after evacuations have been completed.

  - The preferred and alternate means of notifying occupants of a fire or emergency.

  - The preferred and alternate means for reporting fires and other emergencies to the Fire Department.

  - Identification and assignment of personnel who can be contacted for further information or explanation of duties under the plan.

  - 24 hour contact information of a responsible party.

- A *Fire Safety Plan (FSP) shall be designed, and approved by the Fire Department.

This plan shall be in a professional format providing the following information:

  - The procedure for reporting a fire or other emergency.

  - The life safety strategy and procedures for notifying and evacuating the occupants.

  - A site plan indicating the following:

    - The occupancy/building assembly point.

    - The location of fire hydrants.

    - The normal routes of fire department vehicle access

  - Floor plans identifying the locations of the following:

    - Exits

    - Primary evacuation routes

    - Secondary evacuation routes

    - Accessible egress routes

    - Areas of refuge

    - Manual fire alarm boxes

    - Fire extinguishers

    - Occupant use hose stations

    - Fire alarm annunciators and controls

  - A list of major fire hazards associated with the normal use and occupancy of the premises, including maintenance and housekeeping procedures.

  - Identification and assignment of personnel responsible for the maintenance of systems and equipment installed to prevent or control fires, or to warn of fires.

  - Identification and assignment of personnel responsible for maintenance, housekeeping and controlling fuel hazard sources.

- Fire Safety and Evacuation Plans shall be reviewed annually, and updated as necessitated by changes in staff assignments, occupancy of the building, or the physical arrangement of the building.

- Fire Safety and Evacuation Plans shall be available within the building for review by employees and building occupants, and a copy shall be furnished to Fire Department. An additional copy shall be provided at the main entrance and shall be stored within a KNOX Box Model 1300 (may require Knox Box to be upgraded).

- Fire Safety and Evacuation Plans shall be reviewed and approved by the Fire Department on annual basis.

- Fire Safety and Evacuation Plans shall be provided and issued to all tenants of the building.

- A Fire Department Inspector shall attend a Board Meeting of the HOA on a tri-annual basis (minimum).  This meeting will be deemed the Fire Safety Board Meeting (FSBM) and will be utilized to discuss Fire Life Safety, specific building issue’s and/or concerns, and to provide an overview of safety processes addressed in the specific Fire Evacuation Plan (FEP) and Fire Safety Plan (FSP).

- A self-inspection checklist (see attached): shall be completed for all floors and common areas, by individual tenants, annually. The completed checklists shall be maintained within the building and an additional copy in the KNOX Box Model 1300 or Fire Control Room.

- Emergency lighting shall be provided in all enclosed common areas, including enclosed stairways, as required by the California Fire Code (CFC).

- Exit signs shall be provided in all common areas, as required by the California Fire Code (CFC).

- Low-level exit signs shall be provided in all rated interior corridors, as required by the California Fire Code (CFC).

- Residential type ABC fire extinguishers shall be provided within all residential units.

- The building owner, homeowner’s association, or property management company shall ensure that all condo’s and/or apartments have working smoke alarms and fire extinguishers.  Upon ensuring that these safety items are in place and working, a “self certification letter” is to be sent to the Fire Department, Fire Prevention Bureau annually.

- Smoke alarms shall be maintained in each residential unit, within each sleeping area, and the area giving access to the sleeping area.

- Evacuation signage shall be designed by a competent professional, approved by the Fire Department, and shall be posted at all stairways, elevators and within the main entrance.

*There are professional companies who provide this service (preparation of Fire Evacuation Plans (FEP) & Fire Safety Plan (FSP).  A few who have done business in Long Beach are as follows:

F-11 Productions (Fire Safety Training)   	(562) 429-4455

- Associates, Inc.  				(800) 408-HELP (4357)

Edmonson & Associates   			(818) 985-5075

Rolf Jensen & Associates, Inc. (RJA)   	(714) 257-3555

Universal Safety Consultants   		(800) 768-5291

**It is the intent of the Long Beach Fire Department to provide a reasonable time frame for all buildings to come into compliance relative to this agreement (and any other violations determined by inspection).  A course of action with a reasonable timeline will be requested of all buildings involved by this agreement.  This document will constitute a “contract” on which the time frames will be used to determine the first (1st) Inspection for compliance.

Failure to comply with the above alternatives will result in the following:

1st offense = 	1st corrective notice given to a responsible party that the building is in violation of this agreement.  The notice will show the specific violation (s) and a date for the violations to be corrected.  First notice will allow for a correction time of *30 – 60 days to comply.  *(Depending on extent of violation (s)).

2nd offense = 	2nd corrective notice given to a responsible party that the building is in violation of this agreement.  The notice will show the specific violation (s) and a date for the violations to be corrected.  The second notice will allow for a correction time of  *7 - 30 days to comply.  Failure to comply will result in the assessment of a re-inspection fee’s for further inspections for this inspection year, or until violations are corrected.  *(depending on extent of violation (s)).

3rd offense =   A re-inspection fee will be assessed for this and all future inspections related to these acts of non-compliance.  Failure to comply with previous violation notices, and the terms of this agreement, will result in all corrective notices will be turned over to the City Prosecutors office for action.  A determination will be made as to the proper corrective action necessary to achieve compliance.  Failure to follow through with this agreement may result in the revocation of the “fire sprinkler retrofit alternatives agreement” requiring the installation of a Fire Sprinkler System.

Cost of Program:

The Fire Department is Mandated by the State Fire Marshal, through the Health and Safety Code, to inspect all high-rise buildings, hotels, motels, lodging houses, apartments houses, and dwellings, buildings and structures accessory thereto:  Except 1 and 2 family residences.

We are proposing that a fee of twenty-five dollars ($25) per unit, per year, be collected for the inspection and administration for the “fire sprinkler retrofit alternatives” program.  This fee will be imposed on all existing un-sprinklered, high-rise and residential buildings with 50 or more units under one roof.

This fee structure will be consistent with the currently adopted fees for the residential inspection program, which is twenty dollars ($20) per unit.

# Text boxes

FIRE PREVENTION REQUIREMENT

NO. 2008-2                                10/08

City of Long Beach

# Fire Department

# Fire Prevention Bureau