SITE PLAN REVIEW CONDITIONS OF APPROVAL

1112 - 1130 Locust Avenue

Application No. 1803-10 / SPR18-015

September 20, 2018

Special Conditions:

- This Site Plan Review approval is for the construction of a seven-story multi-family residential building containing 97 dwelling units and one-level subterranean, 122-stall parking garage.

- All work shall be carried out in accordance with the activities shown on plans received by the Department of Development Services, Planning Bureau, dated March, 2018.

- The applicant shall comply with the Mitigated Measures specified in the Mitigation Monitoring and Reporting Program of the Downtown Plan PEIR and as described in staff report Exhibit E – Downtown Plan PEIR Analysis, to the satisfaction of the Director of Development Services.

- A minimum of 122 parking stalls shall be permanently maintained and in useful operation within the building’s parking garage.  The number of Electric Vehicle (EV) charging stations and spaces shall meet or exceed California Green Building Standards Code Chapter 5 Section 5.106.5.3 requirements.

- Parking stalls in tandem shall be assigned and dedicated to the same unit.

- A minimum of 20 bicycle parking/storage spaces shall be provided for and maintained on site.

- One or several central satellite television/data receiver dish(es) shall be located on the roof of the building or in another utility area so that a separate satellite receiver dish is not needed for each residential unit.

- All required off-site street improvements shall be installed or provided for to the satisfaction of the Director of Public Works prior to issuance of a building permit.

- Pursuant to section 21.45.400 (c), the project shall meet the intent of LEED at the Certified level to the satisfaction of the Director of Development Services.  Prior to issuance of any project-related building permits, the applicant shall submit proof of registration with USGBC and a password allowing staff access to said registration, or provide proof by a third party as meeting the intent of LEED at the level required by Chapter 21.45.400.

- Noise levels emanating from the project’s common open space areas shall not exceed applicable noise standards specified in Long Beach Municipal Code Section 8.80.150 – Exterior Noise Limits.  Use of the podium level courtyard area and seventh floor roof deck areas shall be restricted to the hours of 6:00 a.m. – 10:00 p.m.

- The Developer shall provide a sample design of the metal screening materials used for levels one and two of the parking garage to the satisfaction of the Director of Development Services.

The developer shall provide for the following to the satisfaction of the Director of Public Works:

General Requirements

12.	Prior to the start of any on-site/off-site construction, the Developer shall submit a construction plan for pedestrian protection, construction area perimeter fencing with custom-printed screen(s), street lane closures, construction staging, shoring excavations and the routing of construction vehicles (excavation hauling, concrete and other deliveries, etc.).

13.	All door openings swinging into the public right-of-way shall be adjusted in swing direction, set back outside of the public right-of-way, or eliminated to the satisfaction of the Director of Public Works. Construction plans shall be submitted to the Department of Public Works for all encroachments over the public right-of-way, to be reviewed for approval as to compliance with California Building Code Chapter 32, prior to issuance of a building permit.

14.	The Developer proposes a refuse and recycling receptacle location adjacent to the improved east-west alley (Lily Way). All refuse and recycling receptacles shall be subject to the standards and requirement of Long Beach Municipal Code Chapter 8.60.

PUBLIC RIGHT-OF-WAY

15.	The Developer shall dedicate and improve 2.5 feet for alley widening purposes along the north-south alley (Waite Court) adjacent to the development site, relocating all existing facilities as necessary to accommodate the alley widening.

16.    The Developer shall construct all off-site improvements needed to provide full ADA accessibility compliance within the adjacent public rights-of-way, to the satisfaction of the Director of Public Works. If a dedication of additional right-of-way is necessary to satisfy ADA requirements, as determined during the plan check process, the right-of-way dedication way shall be provided.

OFF-SITE IMPROVEMENTS

17.	The Developer shall reconstruct the full width of Lily Way adjacent to the project site with Portland cement concrete. All public facilities along the proposed alley widening and improvement area shall be relocated by the Developer at project expense, and to the satisfaction of the Director of Public Works.

18.	The Developer shall reconstruct damaged/deteriorated sections of alley pavement adjacent to the project site along Waite Court. The Developer shall also improve the dedicated area along the alley for widening purposes. Alley improvements shall be constructed with Portland cement concrete to the satisfaction of the Director of Public Works.

19.	The Developer shall reconstruct the Lily Way alley intersection and curb returns at Locust Avenue. Alley improvements shall be constructed with Portland cement concrete to the satisfaction of the Director of Public Works.

20.	The Developer shall check with the Long Beach Water Department, at (562) 570-2300, and the Gas and Oil Department, at (562) 570-2030, for scheduled main replacement work prior to submitting alley improvement plans to the Department of Public Works.

21.	The Developer shall remove unused driveways and curb cuts, and replace with full-height curb, curb gutter and sidewalk pavement to the satisfaction of the Director of Public Works. Sidewalk improvements shall be constructed with Portland cement concrete.

22.	The Developer shall reconstruct cracked, deteriorated, or uplifted/depressed sections of sidewalk pavement, curb and curb gutter adjacent to the development site along Locust Avenue. Sidewalk improvements shall be constructed with Portland cement concrete to the satisfaction of the Director of Public Works. All sidewalk removal limits shall consist of entire panel replacements (from joint line to joint line).

23.	The Developer shall reconstruct the sidewalk paving along Locust Avenue adjacent to the project site, or provide an additional landscaped strip east of the existing sidewalk paving, to achieve a 15-foot wide public sidewalk. Sidewalk improvements shall be constructed with Portland cement concrete to the satisfaction of the Director of Public Works.

24.	The Developer shall improve the parkway along Locust Avenue fronting this project with new grass or drought-tolerant accent shrubbery and permeable groundcover such as decomposed granite as described in Section 21.42.050 of the Municipal Code. The Developer shall also be responsible for providing access through the improved parkway, demolishing and reconstructing the existing access path to align with the main entrance of the development site, to the satisfaction of the Director of Public Works.

25.	The Developer shall provide for new street trees with root barriers along Locust Avenue adjacent to the project site. Street trees requiring removal shall be relocated or replaced to the satisfaction of the Director of Public Works. The Developer and/or successors shall water and maintain all street trees, landscaping and sprinkler systems required in connection with this project. The Developer shall contact the Street Tree Division of the Department of Public Works, at (562) 570-2770, prior to beginning the tree planting, landscaping, and any irrigation system work. The Street Tree Division will assist with the size, type and manner in which the street trees are to be installed. At a minimum, parkway trees shall provide shade coverage, after five years of growth, of 50% of the total area dedicated for public right of way.

26.	The Developer shall install Custom Printed Flex Mesh screen(s), such as FenceScreen.com Series 311, or equivalent, fence screening along the perimeter of the development site, and provide for the printed graphic, to the satisfaction of the Director of Public Works. The Developer shall consult with Public Works prior to submitting the graphic design for printing.

27.	The Developer shall be responsible for the maintenance, repair and replacement of off-site improvements abutting the project boundary during construction of the on-site improvements, until final inspection of the on-site improvements by the City. All off-site improvements adjacent to the development site, and/or along the truck delivery route found damaged as a result of construction activities, shall be reconstructed or replaced by the Developer, to the satisfaction of the Director of Public Works.

28.	The Developer shall provide for the resetting to grade of manholes, pull boxes, meters, and other existing facilities in conjunction with the required off-site improvements, to the satisfaction of the Director of Public Works.

29.	To the satisfaction of the Director of Public Works, the Developer shall submit for approval a shoring plan, for any temporary or permanent tiebacks/soil nails that are required to extend beneath the public rights-of-way adjacent to the project site. Tiebacks/soil nails shall be per the standards and requirement of Long Beach Municipal Code Chapter 14.08.

30.	The Developer shall submit a grading plan with hydrology and hydraulic calculations showing building elevations and drainage pattern and slopes, for review and approval by the Director of Planning and Building Services and the Director of Public Works, prior to the release of any building permit.

31.	All work within the public right-of-way must be performed by a contractor holding a valid State of California Contractor’s License and City of Long Beach Business License, sufficient to qualify the contractor to do work. The Contractor shall have on file with the City Engineer a Certificate of General Liability insurance, and endorsement evidencing minimum City of Long Beach limits of required general liability insurance.

32.	Public improvements shall be constructed in accordance with Public Works construction standards, and per plans reviewed and approved by the Department of Public Works. The City’s Public Works Engineering Standard Plans are available online at www.longbeach.gov/pw/resources/engineering/standard-plans. Prior to issuance of a building permit, detailed off-site improvement plans shall be prepared by a licensed Civil Engineer, stamped, signed and submitted to Public Works for review and approval.

33.	All conditions of approval, including cover letter signed by the Planning Officer and Case Planner, must be printed verbatim on all plans submitted for plan review to the Department of Public Works.

TRAFFIC AND TRANSPORTATION

34.	The size and configuration of all proposed driveways serving the project site shall be subject to review and approval of the City Traffic Engineer. Driveways greater than 28 feet require a variance; contact the Traffic & Transportation Bureau at (562) 570-6331 to request additional information regarding driveway construction requirements.

35.	The Developer shall salvage and reinstall all traffic signs that require temporary removal to accommodate new construction within the public right-of-way. All traffic signs shall be reinstalled to the satisfaction of the City Traffic Engineer.

36.	The Developer shall replace all traffic signs and mounting poles damaged or misplaced as result of construction activities to the satisfaction of the City Traffic Engineer

37.	The Developer shall repaint all traffic markings obliterated or defaced by construction activities to the satisfaction of the City Traffic Engineer.

38.	The Developer shall contact the Traffic & Transportation Bureau, at (562) 570-6331, to modify any existing curb marking zones adjacent to the project site.

39.	All traffic control device installations, including pavement markings within the private parking lot, shall be installed in accordance with the provisions of the Manual on Uniform Traffic Control Devices (MUTCD), 2012 or current edition (i.e. white parking stalls, stop signs, entry treatment signage, handicapped signage, etc.).

Standard Conditions – Plans, Permits, and Construction:

40.   The applicant shall comply with all comments from the Long Beach Police, Gas & Oil, Public Works, Water and Fire Departments and Building Bureau.

- Prior to the issuance of a building permit, the applicant shall submit a revised set of plans reflecting all of the design changes set forth in the conditions of approval, to the satisfaction of the Director of Development Services.

42.    All conditions of approval must be printed verbatim on all plans submitted for plan review to the Department of Development Services. These conditions must be printed on the site plan or a subsequent reference page.

- The plans submitted for plan review must explicitly call out and describe all materials, textures, accents, colors, window, door, planter, and paving details that were approved by the Site Plan Review Committee or the Planning Commission. No substantial changes shall be made without prior written approval of the Site Plan Review Committee or the Planning Commission.

- Prior to the issuance of a building permit, the applicant must depict all utility apparatus, such as, but not limited to, backflow devices and Edison transformers, on both the site plan and the landscape plan. These devices shall not be located in any front, side, or rear yard area that is adjacent to a public street. Furthermore, these devices shall be screened by landscaping or another screening method approved by the Director of Development Services.

- The Director of Development Services is authorized to approve minor modifications to the approved design plans or to any of the conditions of approval if such modifications shall not significantly change or alter the approved project. Any major modifications shall be reviewed by the Zoning Administrator, Site Plan Review Committee, or Planning Commission, respectively.

- All rooftop mechanical equipment shall be fully screened from public view and views from taller, adjacent rooftops. Said screening must be architecturally compatible with the building in terms of theme, materials, colors and textures. If the screening is not specifically designed into the building, a rooftop mechanical equipment screening plan must be submitted for approval by the Director of Development Services prior to the issuance of a building permit.

- Upon plan approval and prior to issuance of a building permit, the applicant shall submit an 11”x17” size set of final construction plans for the project file.

- A permit from the Department of Public Works shall be required for any work to be performed in or over the public right-of-way.

- Any off-site improvements found to be damaged as a result of construction activities related to this project shall be replaced to the satisfaction of the Director of Public Works.

- Separate building permits are required for fences, retaining walls, flagpoles, and pole-mounted yard lighting foundations.

- The applicant shall file a separate plan check submittal to the Long Beach Fire Department for review and approval prior to the issuance of a building permit.

- Prior to the issuance of a building permit, the applicant shall submit architectural, landscaping and lighting drawings for the review and approval of the Police Department for their determination of compliance with Police Department security recommendations.

- All structures shall conform to the Long Beach Building Code requirements. Notwithstanding this subject permit, all other required permits from the Building Bureau must be secured.

- Site development, including landscaping, shall conform to the approved plans on file with the Department of Development Services. At least one set of approved plans containing Planning, Building, Fire, and, if applicable, Redevelopment and Health Department stamps shall be maintained at the job site, at all times for reference purposes during construction and final inspection.

- Prior to the issuance of a building permit, the applicant must submit complete landscape and irrigation plans for the approval of the Director of Development Services.

- All landscaped areas shall comply with the State of California’s model landscape ordinance. Landscaped areas shall be planted primarily with drought tolerant plant materials and shall be provided with water conserving automatic irrigation systems designed to provide complete and adequate coverage to sustain and promote healthy plant life. The irrigation system shall not cause water to spray or flow across a public sidewalk.

- All landscaping irrigation systems shall use high efficiency sprinkler nozzles. The models used and flow rates shall be specified on the landscaping plan. For residential-type or small-scale sprinkler systems, sprinkler head flow rates shall not exceed 1.00 GPM and shall be of the rotating type. Where feasible, drip irrigation shall be used instead. If an in-ground irrigation system is to be installed, such system shall be controlled by an automatic self-adjusting weather-based irrigation controller.

- Permeable pavement shall be utilized where feasible, to the satisfaction of the Director of Development Services. Public right-of-way improvements shall be exempt from this requirement. If the feasibility of using permeable pavement is uncertain, it shall be the developer’s responsibility to demonstrate that a given application of permeable pavement is not feasible, to the satisfaction of the Director of Development Services.

- All outdoor fountains or water features shall utilize water recycling or re-circulation systems. The plans submitted for review shall specifically identify such systems.

- Energy conserving equipment, lighting, and construction features shall be utilized in this project.

- Low-flow fixtures shall be used for all lavatory faucets, kitchen faucets, showerheads, toilets, and urinals. Toilets may be either low-flow or dual flush. Maximum flow rates for each fixture type shall be as follows: lavatory faucet – 2.75 GPM, kitchen faucet – 2.20 GPM, showerhead – 2.00 GPM, toilet – 1.3 GPF, dual flush toilet – 0.8/1.6 GPF, urinal – 1.0 GPF. Plans submitted for review shall specifically identify such fixtures and flow rates.

- Demolition, site preparation, and construction activities are limited to the following (except for the pouring of concrete which may occur as needed):

  - Weekdays and federal holidays: 7:00 a.m. to 7:00 p.m.;

  - Saturday: 9:00 a.m. - 6:00 p.m.; and

  - Sundays: not allowed

- This permit and all development rights hereunder shall terminate two years from the effective date of this permit unless construction is commenced or a time extension is granted, based on a written and approved request submitted prior to the expiration of the two-year period as provided in Section 21.21.406 of the Long Beach Municipal Code.

- This permit shall be invalid if the owner(s) and/or applicant(s) have failed to return written acknowledgment of their acceptance of the conditions of approval on the Conditions of Approval Acknowledgment Form supplied by the Planning Bureau. This acknowledgment must be submitted within 30 days from the effective date of approval (final action date or, if in the appealable area of the Coastal Zone, 21 days after the local final action date).

- If, for any reason, there is a violation of any of the conditions of this permit or if the use/operation is found to be detrimental to the surrounding community, including public health, safety or general welfare, environmental quality or quality of life, such shall cause the City to initiate revocation and termination procedures of all rights granted herewith.

- This approval is required to comply with these conditions of approval as long as the use is on the subject site. As such, the site shall allow periodic re-inspections, at the discretion of city officials, to verify compliance. The property owner shall reimburse the City for the inspection cost as per the special building inspection specifications established by City Council (Sec. 21.25.412, 21.25.212).

- In the event of transfer of ownership of the property involved in this application, the new owner shall be fully informed of the permitted use and development of said property as set forth by this permit together with all conditions that are a part thereof. These specific requirements must be recorded with all title conveyance documents at time of closing escrow.

- Approval of this development project is expressly conditioned upon payment (prior to building permit issuance or prior to Certificate of Occupancy, as specified in the applicable Ordinance or Resolution for the specific fee) of impact fees, connection fees and other similar fees based upon additional facilities needed to accommodate new development at established City service level standards, including, but not limited to, sewer capacity charges, Park Fees and Transportation Impact Fees.

- No publicly accessible telephones shall be maintained on the exterior of the premises. Any existing publicly accessible telephones shall be removed.

- The property shall be developed and maintained in a neat, quiet, and orderly condition and operated in a manner so as not to be detrimental to adjacent properties and occupants.

- The property owner shall prevent loitering in all parking and landscaping areas serving the use during and after hours of operation. The operator must clean the parking and landscaping areas of trash and debris on a daily basis. Failure to do so shall be grounds for permit revocation. If loitering problems develop, the Director of Development Services may require additional preventative measures such as but not limited to, additional lighting or private security guards.

- Exterior security bars and roll-up doors applied to windows and pedestrian building entrances shall be prohibited.

- Any graffiti found on site must be removed within 24 hours of its appearance.

- All required utility easements shall be provided to the satisfaction of the concerned department, agency, or utility company.

- All trash and refuse containers shall be fully screened from public view to the satisfaction of the Director of Development Services.

- As a condition of any City approval, the applicant shall defend, indemnify, and hold harmless the City and its agents, officers, and employees from any claim, action, or proceeding against the City or its agents, officers, and employees to attack, set aside, void, or annul the approval of the City concerning the processing of the proposal/entitlement or any action relating to, or arising out of, such approval. At the discretion of the City and with the approval of the City Attorney, a deposit of funds by the applicant may be required in an amount sufficient to cover any anticipated litigation costs and staff time required as a result of litigation activity.