SITE PLAN REVIEW CONDITIONS OF APPROVAL

1101-1157 Long Beach Boulevard

Application No. 1801-17 / SPR18-002

September 20, 2018

Special Conditions:

- This Site Plan Review approval is for the construction of an eight-story mixed-use building containing 120 dwelling units and an integrated three-level, 151-stall parking garage.

- All work shall be carried out in accordance with the activities shown on plans received by the Department of Development Services, Planning Bureau, dated August 30, 2018.

- The applicant shall comply with the Mitigation Measures specified in the Mitigation Monitoring and Reporting Program of the Downtown Plan PEIR and as described in staff report Exhibit F – Downtown Plan PEIR Environmental Compliance Checklist, to the satisfaction of the Director of Development Services.

- A minimum of 151 required parking stalls shall be permanently maintained and in useful operation within the building’s parking garage. The number of Electric Vehicle (EV) charging stations and spaces shall meet California Green Building Standards Code Chapter 5 Section 5.106.5.3 requirements.

- A minimum of 45 bicycle parking spaces shall be provided for and maintained on site. The type, spacing and placement of exterior bicycle racks shall follow the guidelines of the Bicycle Master Plan to the satisfaction of the Director of Development Services.

- One or several central satellite television/data receiver dish(es) shall be located on the roof of the building or in another utility area so that a separate satellite receiver dish is not needed for each residential and commercial unit.

- All required off-site street improvements shall be installed or provided for to the satisfaction of the Director of Public Works prior to issuance of a building permit.

- Pursuant to section 21.45.400 (c), the project shall meet the intent of LEED at the Certified level to the satisfaction of the Director of Development Services.  Prior to issuance of any project-related building permits, the applicant shall submit proof of registration with USGBC and a password allowing staff access to said registration, or provide proof by a third party as meeting the intent of LEED at the level required by Chapter 21.45.400.

- Pursuant to section 21.45.400 (i), the project shall provide:

  - Roofs shall be designed to be solar-ready by allowing for an additional eight (8) pounds per square foot of dead load and providing a conduit from the electrical panel to the roof;

  - A designated area for the collection of recyclables shall be provided adjacent to the area for the collection of waste.

- Noise levels emanating from the project’s common open space areas shall not exceed applicable noise standards specified in Long Beach Municipal Code Section 8.80.150 – Exterior Noise Limits.  Use of the podium level outdoor deck areas shall be restricted to the hours of 6:00 a.m. – 10:00 p.m.

- The applicant shall record a Notice of Lot Merger with the Los Angeles County Registrar-Recorder's office prior to the issuance of building permits.

- The existing memorial around the tree well in the East 12th Street sidewalk shall be protected in place.

- The applicant shall comply with all comments from the Los Angeles County Metropolitan Transportation Authority (Metro) in a letter dated March 21, 2018. These conditions include, but are not limited to the following:

  - A recorded Noise Easement Deed in favor of Metro is required,

  - Metro Safety, Project Delivery, and Operations departments must review construction plans and operations prior to any permits being issued. Permits for special operations including the use of a pile driver or any other equipment that could come into close proximity to the Overhead Catenary System (OCS) support structure or encroach on Metro’s ROW airspace must be obtained at least one month prior to the start of construction. In addition, any future work affecting the east side of the proposed Project, including but not limited to signage/advertisement installation, or any other maintenance work within ten (10) feet of the OCS will require a track allocation permit. Permits allowing for single tracking or a power shutdown must be obtained at least three weeks prior to the start of construction. The contractor should contact the following people regarding track allocation and/or special operation permits: F. Andres Di Zitti, Rail Operations Manager at 213-418-3004 / dizittif@metro.net, or the On-Duty Rail Operations Control Center Floor Manager at 323-563-5022.

  - During construction, a protection barrier of acceptable material shall be constructed to cover the full height of the building to prevent objects, material, or debris from falling onto the Metro ROW, bar signals along 12th Street, or contacting the electrified OCS and support structures.

  - Public access to and from Anaheim Street Station must be maintained at all times. The sidewalk along Long Beach Blvd. and crosswalk along 12th Street must be safely maintained at all times, or if construction requires the closure of the sidewalk, an adequate, barricaded route and sufficient lighting must be provided for safe travel of pedestrians.

The developer shall provide for the following to the satisfaction of the Director of Public Works:

General Requirements

- Prior to the start of any on-site/off-site demolition or construction, the Developer shall submit a construction plan for pedestrian protection, construction area perimeter fencing with custom-printed screen(s), street lane closures, construction staging, shoring excavations and the routing of construction vehicles (excavation hauling, concrete and other deliveries, etc.).

- The Developer proposes architectural projection encroachments into the public right-of-way that include architectural features and balconies. Construction plans shall be submitted to the Department of Public Works for all projections over the public right-of-way to be reviewed for approval as to compliance with California Building Code Chapter 32, to the satisfaction of the Director of Public Works and prior to issuance of a building permit.

- All door openings swinging into the public right-of-way shall be eliminated or set back outside of the public right-of-way, to the satisfaction of the Director of Public Works.

- All refuse and recycling receptacles shall be subject to the standards and requirement of Long Beach Municipal Code Chapter 8.60, including number of receptacles, receptacle specifications and collection services. The Developer and/or successors shall ensure that all receptacles are placed for collection on-site, outside of the improved alley right-of-way, and be responsible for the cleanliness of the paved alley adjacent to the project site.

- East 12th Street adjacent to the project site is currently under a 5-year moratorium, with less than 1 year remaining. The Developer shall provide written approval from the City to implement any street improvements prior to the end of the existing moratorium, in the form of a discretionary permit for excavation.

Public Right-of-Way

- The Developer shall dedicate and improve 2 feet of the development site for alley widening purposes, along the north-south alley (Waite Court), and improve the full width of the alley right-of-way. The Developer shall relocate all existing facilities as necessary to accommodate the alley widening, at project expense and to the satisfaction of the Director of Public Works.

- The Developer shall dedicate and improve a corner cut-off as needed to provide a minimum width of 8 feet between the curb and building, per the City’s Americans with Disabilities Act (ADA) Design Information Bulletin Section 4.3.3. The Developer shall reconstruct the existing sidewalk and curb ramp to provide minimum ADA clearance at the corner of Long Beach Boulevard and East 12th Street, adjacent to the project site.

Note: Based on a field review of the existing conditions in the area, the shortest distance between the curb and property line is approximately 6 feet. A corner cut-off dedication is required to provide the remaining 2 feet necessary to satisfy this ADA requirement.

- The Developer shall construct all off-site improvements needed to provide full ADA accessibility compliance within the adjacent public right-of-way, to the satisfaction of the Director of Public Works. If a dedication of additional right-of-way is necessary to satisfy ADA requirements, as determined during the plan check process, the right-of-way dedication way shall be provided.

- All outdoor dining areas within the public rights-of-way shall be subject to the standards and requirement of Long Beach Municipal Code Chapter 14.14 and parklet standards. Separate approval from the City of Long Beach City Council is required prior to private use of the public rights-of-way. The Developer shall contact the Department of Public Works at (562) 570-7954 to request a Public Walkways Occupancy Permit application and initiate review.

Off-Site Improvements

- The Developer shall reconstruct the full width of Waite Court adjacent to the project site with Portland cement concrete, from the southwest corner of the project site to East 12th Street, and improve the alley dedicated area. All utility poles along the proposed alley improvement shall be undergrounded by the Developer at project expense, to the satisfaction of the Director of Public Works.

- The Developer shall reconstruct the Waite Court alley intersection and curb returns at East 12th Street to align with the widened alley. Alley improvements shall be constructed with Portland cement concrete to the satisfaction of the Director of Public Works.

- The Developer shall provide for public street lamps or install on-site alley lighting to the improved alley adjacent to the project site, to the satisfaction of the Director of Public Works.

- The Developer shall check with the Long Beach Water Department at (562) 570-2300 and the Energy Resources Department at (562) 570-2000 for scheduled main replacement work prior to submitting alley improvement plans to the Department of Public Works.

- The Developer shall remove unused driveways and curb cuts, and replace with full-height curb, curb gutter and sidewalk pavement to the satisfaction of the Director of Public Works. Sidewalk improvements shall be constructed with Portland cement concrete.

- The Developer shall demolish the existing sidewalk and curb ramp located at the corner of Long Beach Boulevard and East 12th Street, adjacent to the project site, and construct a new ADA compliant curb ramp to the satisfaction of the Director of Public Works. Sidewalk improvements shall be constructed with Portland cement concrete.

- The Developer shall improve the corner cut-off dedicated for sidewalk widening purposes. Sidewalk improvements shall be constructed with Portland cement concrete to the satisfaction of the Director of Public Works. All sidewalk removal limits shall consist of entire panel replacements (from joint line to joint line).

- The Developer shall reconstruct cracked, deteriorated, or uplifted/depressed sections of sidewalk pavement, curb and curb gutter adjacent to the development site along Long Beach Boulevard. Sidewalk improvements shall be constructed with Portland cement concrete to the satisfaction of the Director of Public Works. All sidewalk removal limits shall consist of entire panel replacements (from joint line to joint line).

- The Developer shall reconstruct the sidewalk pavement along East 12th Street adjacent to the project site, to be consistent with the sidewalk paving along Long Beach Boulevard. The Developer shall also reconstruct any cracked, deteriorated, or uplifted/depressed sections of curb and curb gutter. Sidewalk improvements shall be constructed with Portland cement concrete to the satisfaction of the Director of Public Works. All sidewalk removal limits shall consist of entire panel replacements (from joint line to joint line).

- The Developer shall provide for new tree wells and street trees with root barriers along Long Beach Boulevard and East 12th Street adjacent to the project site, per Section 21.42.050 of the Long Beach Municipal Code. Any street trees requiring removal shall be relocated or replaced to the satisfaction of the Director of Public Works. The Developer and/or successors shall water and maintain all street trees, landscaping and sprinkler systems required in connection with this project. The Developer shall contact the Street Tree Division of the Department of Public Works, at (562) 570-2770, prior to beginning the tree planting, landscaping, and any irrigation system work. The Street Tree Division will assist with the size, type and manner in which the street trees are to be installed. At a minimum, parkway trees shall provide shade coverage, after five years of growth, of 50% of the total area dedicated for public right of way.

- The Developer shall install Custom Printed Flex Mesh screen(s), along the perimeter of the development site, such as FenceScreen.com Series 311, or equivalent, fence screening, and provide for the printed graphic to the satisfaction of the Director of Public Works. The graphics shall depict positive images of the City or other artistic concepts. Prior to submitting the graphic design for printing, the Developer shall consult with the Department of Public Works to review and approve.

- The Developer shall be responsible for the maintenance, repair and replacement of off-site improvements abutting the project boundary during construction of the on-site improvements, until final inspection of the on-site improvements by the City. All off-site improvements adjacent to the development site, and/or along the truck delivery route found damaged as a result of construction activities, shall be reconstructed or replaced by the Developer, to the satisfaction of the Director of Public Works.

- The Developer shall provide for the resetting to grade of existing manholes, pull boxes, meters, and other existing facilities in conjunction with the required off-site improvements, to the satisfaction of the Director of Public Works.

- All work within the public right-of-way must be performed by a contractor holding a valid State of California Contractor’s License and City of Long Beach Business License, sufficient to qualify the contractor to do work. The Contractor shall have on file with the City Engineer a Certificate of General Liability insurance, and endorsement evidencing minimum City of Long Beach limits of required general liability insurance.

- Public improvements shall be constructed in accordance with plans reviewed and approved by Public Works. The City’s Public Works Engineering Standard Plans are available online at www.longbeach.gov/pw/resources/engineering/standard-plans. Detailed off-site improvement plans shall be prepared by a licensed Civil Engineer, stamped, signed and submitted to the Department of Public Works for approval, prior to the issuance of a building permit.

- All conditions of approval, including cover letter signed by the Planning Officer and Case Planner, must be printed verbatim on all plans submitted for plan review to the Department of Public Works.

Traffic & Transportation Bureau

- The Developer shall be responsible to improve certain traffic signal related equipment to current CA MUTCD and/or City of Long Beach Standards. The traffic signal related equipment shall be within signalized intersections that are directly impacted by the Developer’s project, based on the results of the traffic impact analysis. If not existing, the Traffic Signal related equipment shall include, but may not be limited to the following:

  - All 8” Traffic Signal indications shall be updated to 12” LED units.

  - Vehicular detection shall be installed on all approaches to the signalized intersection. This may include presence, mid or advance detection per City direction. Options will include standard Type E loops or video detection.

  - All pedestrian indications shall be upgraded to LED Countdown Modules within all pedestrian crossings.

  - All pedestrian push buttons shall be upgraded to the most current City Standard.

  - All signalized intersections will require the installation of Emergency Vehicle Pre-Emption (EVPE) equipment. The equipment and installation must be completed per the most current City Standard.

  - Because of the fact that so many City of Long Beach traffic signals operate and share coordinated signal timing plans, the developer shall install a GPS Module at all traffic signals that are directly impacted by their project. The GPS Modules create accurate time-based communications between nearby traffic signals.

  - The developer may be asked to update the traffic signal controller located in the traffic signal cabinet. The existing traffic signal controller may not have the capability to handle the complexities of new traffic patterns that are directly related to the Developer’s project. In such cases, the developer will be asked to install a new traffic signal controller based on the most current City Standard, McCain 2070 Controllers.

- New crosswalks in the vicinity of the project shall be added by the Developer to the satisfaction of the City Traffic Engineer. The Developer shall be responsible to upgrade all existing crosswalks, and install all new marked crosswalks, to the newest City standards.

- The Developer shall be responsible to implement the most recent Bicycle Master Plan of the City at its frontage blocks, along with removal and/or improvement of existing bicycle racks, or contribute a fair share fee to the City for future implementation.

- The size and configuration of all proposed driveways serving the project site shall be subject to review and approval of the City Traffic Engineer. Driveways greater than 28 feet in width require a variance; contact the Transportation Mobility Bureau, at (562) 570-6331, to request additional information regarding driveway construction requirements.

Note: The Developer proposes two one-way driveways servicing the project site along the improved Waite Court alley right-of-way. The Developer shall maintain the design of the driveway ingress/egress configuration; the northerly and southerly driveways being respectively designated as exit and entrance only. In addition, supplemental ingress/egress traffic signage and striping shall be installed by the Developer to the satisfaction of the City Traffic Engineer.

- The Developer shall provide for additional angled street parking along East 12th Street, near the northwest corner of the property. All traffic improvements shall be installed to the satisfaction of the City Traffic Engineer.

- The Developer shall salvage and reinstall all traffic signs that require temporary removal to accommodate new construction within the public right-of-way. All traffic signs shall be reinstalled to the satisfaction of the City Traffic Engineer.

- The Developer shall replace all traffic signs and mounting poles damaged or misplaced as result of construction activities to the satisfaction of the City Traffic Engineer.

- The Developer shall repaint all traffic markings obliterated or defaced by construction activities to the satisfaction of the City Traffic Engineer.

- The Developer shall contact the Transportation Mobility Bureau, at (562) 570-6331, to modify any existing curb marking zones adjacent to the project site.

- All traffic control device installations, including pavement markings within the private parking lot, shall be installed in accordance with the provisions of the Manual on Uniform Traffic Control Devices (MUTCD), 2012 or current edition (i.e. white parking stalls, stop signs, entry treatment signage, handicapped signage, etc.).

Standard Conditions – Plans, Permits, and Construction:

- The applicant shall comply with all comments from the Long Beach Police, Energy Resources, Public Works, Water, and Fire Departments and Building Bureau.

- Prior to the issuance of a building permit, the applicant shall submit a revised set of plans reflecting all of the design changes set forth in the conditions of approval, to the satisfaction of the Director of Development Services.

- All conditions of approval must be printed verbatim on all plans submitted for plan review to the Department of Development Services. These conditions must be printed on the site plan or a subsequent reference page.

- The plans submitted for plan review must explicitly call out and describe all materials, textures, accents, colors, window, door, planter, and paving details that were approved by the Site Plan Review Committee or the Planning Commission. No substantial changes shall be made without prior written approval of the Site Plan Review Committee or the Planning Commission.

- Prior to the issuance of a building permit, the applicant must depict all utility apparatus, such as, but not limited to, backflow devices and Edison transformers, on both the site plan and the landscape plan. These devices shall not be located in any front, side, or rear yard area that is adjacent to a public street. Furthermore, these devices shall be screened by landscaping or another screening method approved by the Director of Development Services.

- The Director of Development Services is authorized to approve minor modifications to the approved design plans or to any of the conditions of approval if such modifications shall not significantly change or alter the approved project. Any major modifications shall be reviewed by the Zoning Administrator, Site Plan Review Committee, or Planning Commission, respectively.

- All rooftop mechanical equipment shall be fully screened from public view and views from taller, adjacent rooftops. Said screening must be architecturally compatible with the building in terms of theme, materials, colors and textures. If the screening is not specifically designed into the building, a rooftop mechanical equipment screening plan must be submitted for approval by the Director of Development Services prior to the issuance of a building permit.

- Upon plan approval and prior to issuance of a building permit, the applicant shall submit an 11”x17” size set of final construction plans for the project file.

- A permit from the Department of Public Works shall be required for any work to be performed in or over the public right-of-way.

- Any off-site improvements found to be damaged as a result of construction activities related to this project shall be replaced to the satisfaction of the Director of Public Works.

- Separate building permits are required for fences, retaining walls, flagpoles, and pole-mounted yard lighting foundations.

- The applicant shall file a separate plan check submittal to the Long Beach Fire Department for review and approval prior to the issuance of a building permit.

- Prior to the issuance of a building permit, the applicant shall submit architectural, landscaping and lighting drawings for the review and approval of the Police Department for their determination of compliance with Police Department security recommendations.

- All structures shall conform to the Long Beach Building Code requirements. Notwithstanding this subject permit, all other required permits from the Building Bureau must be secured.

- Site development, including landscaping, shall conform to the approved plans on file with the Department of Development Services. At least one set of approved plans containing Planning, Building, Fire, and, if applicable, Redevelopment and Health Department stamps shall be maintained at the job site, at all times for reference purposes during construction and final inspection.

- Prior to the issuance of a building permit, the applicant must submit complete landscape and irrigation plans for the approval of the Director of Development Services.

- All landscaped areas shall comply with the State of California’s model landscape ordinance. Landscaped areas shall be planted primarily with drought tolerant plant materials and shall be provided with water conserving automatic irrigation systems designed to provide complete and adequate coverage to sustain and promote healthy plant life. The irrigation system shall not cause water to spray or flow across a public sidewalk.

- All landscaping irrigation systems shall use high efficiency sprinkler nozzles. The models used and flow rates shall be specified on the landscaping plan. For residential-type or small-scale sprinkler systems, sprinkler head flow rates shall not exceed 1.00 GPM and shall be of the rotating type. Where feasible, drip irrigation shall be used instead. If an in-ground irrigation system is to be installed, such system shall be controlled by an automatic self-adjusting weather-based irrigation controller.

- Permeable pavement shall be utilized where feasible, to the satisfaction of the Director of Development Services. Public right-of-way improvements shall be exempt from this requirement. If the feasibility of using permeable pavement is uncertain, it shall be the developer’s responsibility to demonstrate that a given application of permeable pavement is not feasible, to the satisfaction of the Director of Development Services.

- All outdoor fountains or water features shall utilize water recycling or re-circulation systems. The plans submitted for review shall specifically identify such systems.

- Energy conserving equipment, lighting, and construction features shall be utilized in this project.

- Low-flow fixtures shall be used for all lavatory faucets, kitchen faucets, showerheads, toilets, and urinals. Toilets may be either low-flow or dual flush. Maximum flow rates for each fixture type shall be as follows: lavatory faucet – 2.75 GPM, kitchen faucet – 2.20 GPM, showerhead – 2.00 GPM, toilet – 1.3 GPF, dual flush toilet – 0.8/1.6 GPF, urinal – 1.0 GPF. Plans submitted for review shall specifically identify such fixtures and flow rates.

- For commercial food service facilities, low-flow pre-rinse sprayers with average flow rates of no more than 2.0 GPM shall be used. Flow rates shall be specified on plans.

- Demolition, site preparation, and construction activities are limited to the following (except for the pouring of concrete which may occur as needed):

  - Weekdays and federal holidays: 7:00 a.m. to 7:00 p.m.;

  - Saturday: 9:00 a.m. - 6:00 p.m.; and

  - Sundays: not allowed

- This permit and all development rights hereunder shall terminate two year from the effective date of this permit unless construction is commenced or a time extension is granted, based on a written and approved request submitted prior to the expiration of the two year period as provided in Section 21.21.406 of the Long Beach Municipal Code.

- This permit shall be invalid if the owner(s) and/or applicant(s) have failed to return written acknowledgment of their acceptance of the conditions of approval on the Conditions of Approval Acknowledgment Form supplied by the Planning Bureau. This acknowledgment must be submitted within 30 days from the effective date of approval (final action date or, if in the appealable area of the Coastal Zone, 21 days after the local final action date).

- If, for any reason, there is a violation of any of the conditions of this permit or if the use/operation is found to be detrimental to the surrounding community, including public health, safety or general welfare, environmental quality or quality of life, such shall cause the City to initiate revocation and termination procedures of all rights granted herewith.

- This approval is required to comply with these conditions of approval as long as the use is on the subject site. As such, the site shall allow periodic re-inspections, at the discretion of city officials, to verify compliance. The property owner shall reimburse the City for the inspection cost as per the special building inspection specifications established by City Council (Sec. 21.25.412, 21.25.212).

- In the event of transfer of ownership of the property involved in this application, the new owner shall be fully informed of the permitted use and development of said property as set forth by this permit together with all conditions that are a part thereof. These specific requirements must be recorded with all title conveyance documents at time of closing escrow.

- Approval of this development project is expressly conditioned upon payment (prior to building permit issuance or prior to Certificate of Occupancy, as specified in the applicable Ordinance or Resolution for the specific fee) of impact fees, connection fees and other similar fees based upon additional facilities needed to accommodate new development at established City service level standards, including, but not limited to, sewer capacity charges, Park Fees and Transportation Impact Fees.

- No publicly accessible telephones shall be maintained on the exterior of the premises. Any existing publicly accessible telephones shall be removed.

- The property shall be developed and maintained in a neat, quiet, and orderly condition and operated in a manner so as not to be detrimental to adjacent properties and occupants.

- The property owner shall prevent loitering in all parking and landscaping areas serving the use during and after hours of operation. The operator must clean the parking and landscaping areas of trash and debris on a daily basis. Failure to do so shall be grounds for permit revocation. If loitering problems develop, the Director of Development Services may require additional preventative measures such as but not limited to, additional lighting or private security guards.

- Exterior security bars and roll-up doors applied to windows and pedestrian building entrances shall be prohibited.

- Any graffiti found on site must be removed within 24 hours of its appearance.

- All required utility easements shall be provided to the satisfaction of the concerned department, agency, or utility company.

- All trash and refuse containers shall be fully screened from public view to the satisfaction of the Director of Development Services.

- As a condition of any City approval, the applicant shall defend, indemnify, and hold harmless the City and its agents, officers, and employees from any claim, action, or proceeding against the City or its agents, officers, and employees to attack, set aside, void, or annul the approval of the City concerning the processing of the proposal/entitlement or any action relating to, or arising out of, such approval. At the discretion of the City and with the approval of the City Attorney, a deposit of funds by the applicant may be required in an amount sufficient to cover any anticipated litigation costs and staff time required as a result of litigation activity.